## R0
SPECIFICATION SUMMARY SHEET
|  | TARIL/TECH/ED/035-01-R0 |  | Category: Electrical Design |  |  |  | Total Pages = 2
W.O. No. |  | TARIL/TECH/ED/035-01-R0
Designer |  | Other
1 | DOCUMENTS REFERRED
|  |  | 1 | Technical Specifications |  |  | 4 | General Requirements
|  |  | 2 | Other 1 |  |  | 5 | Equipment
|  |  | 3 | Technical Specifications |  |  | 6 | Other 2
2 | BASIC DETAILS
Project |  | Rehabilitation and Upgrade of Cuito and Quileva Project substations –Electricity Sector Improvement and Access ESIAP)
Standard |  | Others
Location |  | Cuito and Quileva |  | Frequency |  | 50.0 |  | Altitude | Not specified
Corrosion |  | C5M+ |  | Seismic Zone |  | 2.0 |  | Shade | N/A
Product |  | Power Transformer | Phases | 3.0 | Qty | 3
MVA |  | 80 | Termination | kVp | SI | kVrms | Design Temp | 50.0 | 50.0
Voltage-HV |  | 220 | CB Oil | 250.0 | 750.0 | 230.0 | Cooling | ONAN/ONAF
Voltage-IV | [6 empty] | Cooling
Voltage-LV | [6 empty] | Temp Rise
Voltage-N | [6 empty] | Gradient
Tapping Range + |  |  |  | % TO - |  | @ |  | % STEPS | Taps on
Tap changing Type |  |  | OLTC |  | Variation |  | Tap Variation
Noise Level |  | 70 dB | dB | Pressure
Impedance |  | 12.45% | MAX | 1250 A | MAX | 2000 A | MAX
|  | OLTC | NOR | 1250 A | NOR | 2000 A | NOR
|  | Not specified | MIN | Not specified | MIN | Not specified | MIN
|  | Not specified | TOL | Not specified | TOL | Not specified | TOL
|  | Main Pair |  | Second Pair |  | Third Pair
|  | No Load | Load |  | I^R (CU) |  | Auxiliary | Unit
Losses |  | To be specified by the bidder | To be specified by the bidder |  | To be specified by the bidder |  | To be specified by the bidder | kW
Capitalisation |  | A = B+9,461C+5,259 D+G) | C |  | D |  | G | A
Penalty |  | Excess load losses | Excess no‑load losses |  | Excess auxiliary losses |  | INR/USD | INR/USD
3 | LIMITATION ON DESIGN PARAMETERS
FD (Tesla) |  | N/A | Cl No. | N/A | Transport Weight |  | N/A | Tons | Cl No. | N/A
CD (A/mm2) |  | N/A | Cl No. | N/A | Transport Dim |  | N/A | mtrs | Cl No. | N/A
Linearity |  | N/A | Cl No. | N/A | Tank plate sizes |  | N/A | mm | Cl No. | N/A
Conductor |  | Copper | Cl No. | 1 | Tank Type |  | Conventional |  | Cl No. | 1
Paper type |  | Type 1 | Cl No. | 1 | Tertiary loaded ? |  | No |  | Cl No. | 1
Core Grade |  | S355 | Cl No. | 1 | Parallel Operation ? |  | Yes |  | Cl No. | 1
Over Fluxing |  | No | Cl No. | 1 | Oil Type |  | No |  | Cl No. | 1
4 | HIGH VALUE FITTINGS
Cl No.
Bushing |  | OIP | N | N | HV | HV | LV | LV | IV | Class No.
Tap changer |  | OIP: Oil Type; HV: Conventional; LV: High Value Fittings | Class No.
FOS |  | OIP: Field of Service | Class No.
Oil DGA |  | OIP: Dissolved Gas Analysis | Class No.
NIFPS |  | OIP: NEMA-107T | 1
BCT |  | OIP: ANSI-C5716 | 2
Online Drying out System |  | N: IEC-60076-10 | 3
Transformer monitoring system |  | N: IEC-60076-19 | 4
Thermo Syphon Filter |  | N: Thermo Syphon Filter - N/A | Cl No. - N/A
Maintenance free Breather |  | N: Maintenance free Breather - N/A | Cl No. - N/A
Digital RTCC/ BCU |  | N: Digital RTCC/BCU - N/A | Cl No. - N/A
Radiator type |  | N: Radiator type - N/A | Cl No. - N/A
Other 1 |  | N: N/A | N/A
Other 2 |  | N: N/A | N/A
Other 3 |  | N: N/A | N/A
Miscellanious fittings |  | N: N/A | N/A
5 | IMPORTANT NOTES (Attach Annexure if needed)
Cl No. |  | OIP: Page No.; N: Note
5.0 |  | OIP: 1; N: Attach Annexure if needed
5.0 |  | OIP: 2; N: Attach Annexure if needed
5.0 |  | OIP: 3; N: Attach Annexure if needed
5.0 |  | OIP: 4; N: Attach Annexure if needed
PREPARED BY |  | N: CHECKED BY; LV: DATE:

## Drop Down
Amarpal | Technical Specifications | IS 2026 | C2 | 50 | 1 | Auto Transformer | 1 | 765 | BB | 1925 | 1500 | 830 | 50 | ONAN | 1 X 100 % | 35/45/51 | OLTC | Power | HV | HV | Bell | Communicating | Oil Type | Bell | Yes
Neeti | GTP | IEC 60076 | C4 | 60 | 2 | Power Transformer | 3 | 420 | CB Oil | 1425 | 1050 | 610 | 40 | ONAN/ONAF | 2 X 50 % | 40/45/59 | OCTC | Pressure | LV | LV | Conventional | OIP | Vaccum Type | Conventional | No
Zakir Shaikh | Offer | IEEE / ANSI | C5M |  | 3 | Shunt Reactor |  | 400 | CB Air | 1300 | 850 | 570 | Other | ONAN/ONAF1/ONAF2 | 2 X 60% | 50/55/66 | -- |  | IV | IV | Welded cover | RIP
Wasim Bhatta | Other 1 | CEA | C5M+ |  | 4 | Series Reactor |  | 245 | BD | 1050 | 750 | 540 |  | ONAN/ONAF/OFAF | 4 X 33% | 60/65/78 |  |  |  |  | Other | RIS
Santosh Nautiyal | Other 2 | Others | Offshore |  | 5 | VSR |  | 220 | Oil-SF6 | 950 | 450 | 460 |  | ONAN/ONAF/ODAF | Other | Other | [5 empty] | OIL-OIL
Jaimin Kotecha | [7 empty] | 132 |  | 850 | -- | 395 |  | OFWF | [7 empty] | OIL-SF6
Pritesh Macchar | [7 empty] | 110 |  | 750 |  | 275 |  | OFAF | [7 empty] | Plug In
Other | [7 empty] | 66 |  | 650 |  | 230
[8 empty] | 33 |  | 550 |  | 160
[8 empty] | 11 |  | 350 |  | 140
[10 empty] | 325 |  | 95
[10 empty] | 250 |  | 70
[10 empty] | 190 |  | 50
[10 empty] | 170 |  | 28
[10 empty] | 150 |  | 20
[10 empty] | 95 |  | 10
75
60

## Sheet1
CTQ-ELECTRICAL DESIGN
1 | Before starting design | Reference Document | L1 | L2 | Color code
1.1 | Review of, Tender summary sheet Specifications Deviations and clarifications taken/given |  |  | Y
1.2 | Feedback Manufacturing, testing and site
1.3 | Finalisation of Key bought outs (Bushing, OLTC) Write to purchase for any inputs needed before starting design
2 | During Design
2.1 | Design optimisation: Run Fox Pro to find out optimised turns/Dia Compare F Pro Design to Tender Design
2.2 | Axial and Radial Clearances | Guide ED/XXX
2.3 | Paper covering | Guide ED/XXX
2.4 | Turns per Step XXX
2.5 | Winding conductor Dimensions Number of strands (applilcable for winding ID less than 500 mm) | Guide ED/XXX
2.6 | Winding Height Delta H between LV and HV = LV high by XX mm each side Minimum effective electrical hv winding height 66 kV 132 kV - xx (550 kVp), yy (650 kVp) 220 kV - xx (950 kVp), yy (1050 kVp) 400 kV - xx (1300 kVp), yy (1425 kVp) 765 kV - xx effective electrical height in centre start construction is half the winding height
2.7 | Window height and leg centre - Possibility to match LC with reference - Ratio of WH to Dfe
2.8 | Impedance Comparison with anderson values Pattern of impedance
2.9 | Eddy current Losses Comparison to anderson values
2.1 | Stray Losses Guide XXX
2.11 | No Load Loss value Watts oer Kg BF
2.12 | Core step finalisation Stacking factor Cooling duct Nos and Location Step width First and Last blade width Accomodation of flitch plate
2.13 | Cooling
2.13.1 | Radiators Fins- Height Nos of radiators
2.13.2 | Fans Option 1 Option 2 Option 3
2.13.3 | Pumps Option 1 Option 2
3 | After finalisation of design Cost sheet filling and comparison wrt tender price IMS formats filling Taking print out and signing each page